The following door specification is for a typical commercial application which embraces the concept of “Secure by Design”. It identifies components, which are specific to the security standards of PAS 24 for outward opening doors. Different door configurations, ironmongery selections and options are available and should the project’s exit strategy differ from those presented in the following document, we would strongly advise consultation between the commissioned Design Team and Metal Technology’s Regional Architectural Advisor on all ironmongery options available.

L20: DOORS / SHUTTERS / HATCHES:

The following specification shall be read in conjunction with the Architect’s (……….) series drawings:

ALUMINIUM DOORS:

- General:

  - As clearly indicated, the external entrance and door sets shall be manufactured from Metal Technology’s Thermally Broken Commercial Door Suite.

  - Doors sets shall be rebated on their perimeter and offered as either inward or outward opening.

  - The system is available in a single or dual colour polyester powder coated finish and shall be able to contain double glazed units and inserts as described in their appropriate specification.

  - The enhanced thermal performance of the windows, screens, doors and their respective inserts, in conjunction with the appropriate glazing specification, shall be capable of meeting the current approved Building Regulations.

- System Supplier:

  - Metal Technology Ltd., Steeple Road Industrial Estate, Steeple Road, Antrim, Co. Antrim, Northern Ireland, BT41 1AB.  Tel: 028 9448 7777.

  - Email: sales@metaltechnology.com or Web: www.metaltechnology.com

- Accreditation:

  - The Systems Company is to have ISO 9001 Quality Management Standard, and ISO 14001 Environmental Management Systems Standard.

- Installation Partners:

  - A list of specific and approved fabrication partners for this installation can be made available to the main contractor on request (Please contact your Metal Technology Regional Manager for details).

  - The fabricator shall make provision for producing construction drawings for approval prior to commencing works.

- Installation:

  - The ‘CWCT Standard for Systemised Building Envelopes’ is to be used as a reference for all projects containing curtain walling/windows/doors.

  - All glazed elements within this package should be installed by experienced and qualified personnel, possessing either a recognised Installer’s qualification.

- Product References:

  - System 5-20DHi+ Thermally Enhanced Commercial Doors.

- Materials:

  - All profiles to be extruded from aluminium alloy 6060 T6, T5 or T4 to BS EN 12020-2 / BS 755-9 and with polyamide thermal break sections manufactured from glass reinforced nylon sections capable of withstanding temperatures in excess of 200 ºC.

- Finish:

  - The finish to all aluminium profiles shall generally be Polyester Powder Coated to BS EN 12206 in a standard RAL colour to satisfy a corrosion classification as defined by the powder manufacturer.

  - Powder coat shall be applied to an average thickness of 60 microns.

  - All powder coating shall be supported by a manufacturers/applicators 20 year guarantee for a standard grade finish subject to the applicators approval.

  - Project requirements must be clearly identified by the design team responsible.

  - Internal Finish:         		Colour Ral ……..

  - External Finish:			Colour Ral ……..

- Performance:

  - The doors shall provide Class IV weather tightness as defined by BS 6375 Part 1.

- Exposure:

  - Design Wind Pressure to be determined in accordance with BS 6399 - Part 2.

- Thermal Performance:

  - All glazed curtain walling, windows, doors and their respective inserts, in conjunction with the appropriate glazing specification, should be capable of meeting the current approved Building Regulation.

  - Weighted Average U-value:		………..W/m²K.

  - Details/evidence of all calculations/methods of determining the required project average U-value for the curtain walling screens and their respect inserts shall be submitted by the fabricator with all tender submissions for approval by the project Architect.

- Secured by Design:

  - All glazed curtain walling screens, windows, and doors within the ground floor and vulnerable areas shall embrace secure by design.

  - All systems installed must demonstrate that they have been tested in line with PAS24 security standards and certified by a UKAS accredited certification body.

- Structure:

  - All structural profiles to be designed so as the maximum deflection of any member shall not exceed L/175 of its span with any evidence of any permanent deformation once the load has been removed.

  - All vents shall be sized in accordance with the guidelines detailed in Metal Technology’s technical literature.

  - All structural profiles’ stability and suitability must be confirmed by the fabricators engineers.

  - Details/evidence of all calculations shall be submitted by the fabricator with for approval prior to commencing installation.

- Construction:

  - All doors shall be manufactured, installed and glazed in strict accordance with Metal Technology’s instructions and guidelines as set down in the appropriate technical literature.

  - All opening leaves shall perform with an inward or outward opening operation.

  - Minimum depth of outer frame sections shall be 50mm incorporating two 20mm polyamide thermal break sections within the door profiles.

  - All outer frame and leaf frame members shall be 45° mitred corner construction and reinforced by means of extruded aluminium cleats with stainless steel corner braces.

  - The corner joints shall be pneumatically crimped and secured with a two part adhesive.

  - All mid-rails shall be square cut, shaped and secured using suitable stainless steel screws driven into integral screw ports within the sections where required.

  - Cruciform cleats to be used were required.

  - The “T” joints should be sealed during construction using suitable ‘small gap’ sealant.

  - All gasket joints within the frame must be sealed using a suitable sealant.

  - The doors shall incorporate an internal pressure equalised drainage system with external snap on drainage cover caps.

  - The thermal enhancement shall be achieved by incorporating additional thermal gaskets and foam strips. These must be applied in accordance with Metal Technology’s technical literature.

  - All doors shall be designed and manufactured in compliance with the relevant British Standards.

- Thresholds:

  - In commercial applications, Metal Technology’s thermally broken low rise ramped threshold detail shall be utilised.

  - All threshold bars shall be suitable for wheel chair access.

- Glazing System:

  - All double glazed units, panels and inserts shall be supported continuously along all four edges by specialised glazing support blocks.

  - All doors shall be dry glazed using ‘snap in’ extruded aluminium beads.

  - Metal Technology’s standard, co-extruded PVC Nitrile captive ‘E’ gaskets externally and wedge gasket internally.

  - The corners of the gaskets shall be accurately mitred together and sealed to ensure an effective joint.

  - Setting blocks and location pieces shall be fitted in accordance with BS 6262 in order to ensure the doors are maintained square and rigid.

- Sealed Unit Details:

  - Where clearly indicated, all curtain walling screens, windows and doors shall contain sealed units, which shall be manufactured in accordance with BS EN 1279 Parts 2 and 3 and carry the necessary and appropriate guarantee.

  - Internal Pane:			…………………...

  - External Pane:			……………………

  - All glass units shall be gas filled with warm edge spacer with exact specification determined by the “U” Value calculation.

  - Where solar control glass is applicable:

  - Light Transmission: 			…….

  - G Factor:				…….

  - The Fabricator is to conduct a thermal safety check against glass fracture where required.

  - Manifestation as required.

  - All glazing shall conform to BS6262 and must be in compliance with the current Building Regulations.

- Panel Details:

  - Where clearly indicated, the dead panels within the screens shall generally be aluminium faced spandrel panels:

  - They shall be finished externally with a 2mm polyester powder coated aluminium sheet.

  - The powder coated finish to all external aluminium faces shall generally be a minimum thickness of 60 microns.

  - Each panel shall be supplied complete with a foil backed insulation internally and where exposed, the internal face shall have polyester powder coated aluminium tray finish as required and in line with specification:

  - Internal Finish:         		Colour Ral ……..

- All aluminium panels will be subject to confirmation by the design team and shall be in compliance with the current Building Regulations.

  - The exact specification will be determined by the “U” Value calculation.

- All glazing shall conform to BS 6262.

- Louvres Details:

  - Where clearly indicated, the louvre panels contained within the curtain walling shall be manufactured from Metal Technology’s “Glazed in Louvre” System 23.

  - The outer frame members shall be designed to glaze directly into Metal Technology’s door system.

  - Size limitations should be in strict accordance with Metal Technology’s technical manual.

  - The louvre blades shall be retained within the panel at a pitch of either 33mm or 50mm subject to confirmation from the design team.

  - Each louvre panel installed shall incorporate a fly screen mesh or bird mesh.

  - The finish to all aluminium profiles shall generally be Polyester Powder Coated to BS EN 12206 in a standard RAL colour to satisfy a corrosion classification as defined by the powder manufacturer.

  - Powder coat shall be applied to an average thickness of 60 microns.

  - All powder coating shall be supported by a manufacturers/applicators 20 year guarantee for a standard grade finish subject to the applicators approval.

  - Project requirements must be clearly identified by the design team responsible.

  - Finish:         			Colour Ral ……..

  - All powder coating to match the curtain walling, window and door profiles.

- Fixing:

  - All fixings shall be in strict accordance with Metal Technology’s instructions and guidelines as detailed in their technical literature and in accordance with the relevant British Standards, including BS6262, and shall ensure the door is retained securely within the opening without incurring any damage or distortion to the door frame.

  - When not glazed within curtain walling and for security purposes the lug fixings shall be positioned 150mm on the vertical and horizontal from each corner and 150mm from each mullion and transom. Thereafter at centres not exceeding 600mm but dependant on wind loading. Fixing lugs/straps only to be used where they can be suitably concealed to approval.

  - All fixing of the doors to the building structure to be achieved using a suitable lug and/or frame anchor fixing method capable of accommodating all applicable loads, deflection, tolerances and expansion expected on site.

  - Details of the proposed fixing method shall be submitted to the project engineer for approval prior to installation.

- Accessories:

  - All aluminium flashings, sills and other perimeter trims necessary to ensure the performance of the glazing system shall be the responsibility of the glazing sub-contractor and shall be designed, fabricated, finished, install, secured and sealed in accordance with Metal Technology’s instructions and guidelines as detailed in their technical literature.

  - All decorative flashings/trims etc…required in addition to those indicted above, and intended to be the responsibility of the glazing contractor, should be clearly indicated by the Architect.

- Ironmongery:

The following ironmongery specification is for a typical commercial application which embraces the concept of “Secure by Design”. It identifies components, which are specific to the security standards of PAS 23/24 for outward opening doors. Different door configurations, ironmongery selections and options are available and should the project’s exit strategy differ from that presented in the following clauses, we would strongly advise consultation between the commissioned Design Team and Metal Technology’s Regional Architectural Advisor on all ironmongery options available.

Compatibility of the ironmongery with the choice of system is essential prior to tender.

- Door Hinges:

  - Each door leaf shall be hung on three number adjustable hinges (MT7099).

- Ancillary Devices:

- Each door leaf shall be fitted with three number security devices (MT7168) and associated security keeps (MT5510).

- Handles (Main Entrance):

  - Each door leaf shall be fitted with one pair of Satin Stainless Steel pull handles (ASH 121.19.1250.SS.F1 or equal and approved).

- Locks (Option A):

  - Where doors are not considered to be for panic escape or controlled entry and are deemed to be for access only they shall be fitted with Metal Technology’s Triple Point Roller Latch Locking System (MT7165) utilizing a minimum of three number locking points and keeps.

  - The lock shall engage with Metal Technology’s latch and deadbolt centre keep (MT7152) and extended keeps (MT7154).

  - The lock shall contain Metal technology’s security cylinder (MT7161) and associated euro cylinder guard (MT7059) both protected by Metal Technology’s security escutcheon (MT7160).

- Locks (Option B):

  - The internal door set shall be operated by means of a controlled entry system.

  - The master leaf shall be fitted with Metal Technology’s Electric Triple Point Roller Latch Locking System (MT7151A) utilizing a minimum of three number locking points and keeps.

  - The lock shall carry an electric “add on” motor (MT7156) complete with AV2 12v DC Power Pack (MT7157).

  - The lock shall engage with Metal Technology’s latch and deadbolt centre keep (MT7152) and extended keeps (MT7154).

  - The lock shall contain Metal technology’s security cylinder (MT7161) and associated euro cylinder guard (MT7059) both protected by Metal Technology’s security escutcheon (MT7160).

- Panic Escape (Option C):

  - Where doors are designated for standard panic escape they shall be fitted with a Stainless Steel Dorma 9800FL Series Surface Mounted Vertical Rod Exit Device.

  - Panic gear shall contain a built in dogging facility

  - All panic ironmongery supplied shall comply with BS EN 1125.

- Panic Escape (Option D):

  - Where doors are designated for access and egress panic escape they shall be fitted with a Stainless Steel Dorma 9800FL Series Surface Mounted Vertical Rod Exit Device.

  - The exit device shall be provided with a built in electric latch bolt retraction complete with a remote entry system.

  - The gearing shall be supplied complete with Stainless Steel ZT08 lockable lever handle and entry trim.

  - All panic ironmongery supplied shall comply with BS EN 1125.

- Closers (Option A):

  - All doors shall be fitted with “Hold Open” overhead surface mounted door closers (PCD72A) and mounting plate (PCD105A).

  - The closer shall contain a cam action and will comply with the relevant closing forces under BS 8300.

- Closers (Option B):

  - Doors to main entrance reception lobby shall be manufactured using a fully automated DORMA ES200 Automatic Sliding Door Operator.

  - Microprocessor controlled modular designed with adjustable opening and closing speed.

  - Variable hold open times.

  - 5 position mode switch (off, automatic, partial opening, exit only and hold open) External operator switch to be lockable and remotely positioned. Internal operator switch to be fitted within the cover.

  - Self-regulating safety system monitoring all door movements including closing force.

  - Presence sensors monitoring the threshold area preventing the doors from closing on users

  - Monitored battery back up to automatically open the doors in the case of a power failure or upon a signal from the interfaced fire alarm system.  Every four hours the doors shall on the next operation move under battery power to ensure the battery pack is sufficiently charged and the mechanical functions of the operator function correctly.

  - Auto reverse function if the doors make contact with an obstruction during the opening cycle.

  - Night/Bank Facility for first and last entrance.

  - Drive unit encased in purpose designed extruded aluminium profile 100mm.

  - Activ8 combined radar activation and threshold infrared safety sensor

  - Polyester Powder Coating Aluminium Cover Profile.

  - Electro - Mechanical Lock

- Electrical and Fire requirements:

  - The electrical contractor shall provide a 240-volt AC mains spur to the right-hand side of the opening above and on the same face that each drive unit is fitted.

  - The spur must be switched and fused with a central flex outlet faceplate. A 10 amp residual circuit breaker at the mains board and a 5-amp fuse at the spur shall protect the circuit.

  - The fire alarm specialist shall provide a normal open volt free contact that is close on alarm. The contacts shall be terminated adjacent to the fused spurs (Option).

  - Installed to and complying with BS 7036 (The Code of Practice that covers Safety at Powered Doors for Pedestrian Use).

- Closers (Option C):

  - Each entrance door leaf shall be fitted with a low energy Dorma ED100LE / ED 250LE power assisted surface applied low energy swing door operator (or equal and approved).

- The outer entrance closers shall be operated by means of a “Push Pad” / Key Fob by others.

- In the case of a lobby, the internal entrance doors shall be operated by remote entry in conjunction with the release of the electric lock.

  - Electromechanical automatic low energy drive unit consisting of a DC motor, multi-stage gearing, spring and modular designed electronic control system incorporated within 70mm deep aluminium Contour Designed housing.

  - Continuously variable spring opening and closing force via integral bevel gearing.

  - Adjustable electronic control system to overcome doors seals or latch action locking devices during the closing cycle.

  - Switchable control system to overcome wind load or pressure differentials during the closing cycle.

  - Automatic closing by hydraulic spring independent of main power

  - In the event of power failure door reverts to spring controlled manual operation

  - Steplessly adjustable closing force EN 1154 between EN 2 – 4

  - Opening speed adjustable between 4 – 25 Degrees / Second

  - Hold open time adjustable between 0 and 30 seconds

  - 4 position mode switch (off, automatic, hold open, exit only)

  - Standard push action drive arms (Option)

  - Channel slide pull action drive arms (Option).

  - Night/Bank facility for first and last entry/exit (Option)

  - Tested and certified to 1,000,000 operation cycles

- Closer Activation:

  - Manual operation

  - Hard wired wall switch actuation (150mm x 150mm) satin stainless steel (Option)

  - Wireless wall switch actuation (150mm x 150mm) satin stainless steel complete with radio Control (Option)

  - Hand held fob actuation complete with radio controlled receiver incorporated within operator housing (Option)

- Closer Safety:

  - DORMA IRS 290 safety sensors fitted to opening side of door leaf (Option)

  - DORMA IRS 233 safety sensors fitted to safe side of door leaf (Option)

  - Dorma ‘F’ type extruded aluminium framed safety barrier with toughened glass infills installed along the line of doors in the open position (Option).

  - DORMA Pivotsafe anti finger trap device (Option)

  - DORMA Hingesafe anti finger trap device (Option)

- Closer Operator Cover:

  - The finish to all aluminium profiles shall generally be Polyester Powder Coated to BS EN 12206 in a standard RAL colour to satisfy a corrosion classification as defined by the powder manufacturer.

  - Powder coat shall be applied to an average thickness of 60 microns.

  - All powder coating shall be supported by a manufacturers/applicators 20 year guarantee for a standard grade finish subject to the applicators approval.

  - Project requirements must be clearly identified by the design team responsible.

  - Finish:         			Colour Ral ……..

  - All powder coating to match the curtain walling, window and door profiles.

- Monitoring System Real Time Remote:

  - GPRS based wireless system concealed within the operator; system shall monitor each door location remotely via the internet incorporating facility to lock / unlock doors timed automatic locking, reset, diagnostic system check and to provide data capture on usage and performance (Option).

- Electrical:

  - The electrical contractor shall provide a 240-volt AC mains spur to the left-hand side of the opening above and on the same face that each drive unit is fitted. The spur must be switched and fused with a central flex outlet faceplate. A 10 amp residual circuit breaker at the main board and a 5-amp fuse at the spur shall protect the circuit.