L10: WINDOWS / ROOFLIGHTS / SCREENS / LOUVRES.

The following specification shall be read in conjunction with the Architect’s (……….) series drawings:

ALUMINIUM WINDOWS - SECONDARY GLAZING:

- General:

  - Where clearly indicated on Architect’s schedules and drawings, all secondary glazing shall be manufactured from Metal Technology’s Unframed Side Hung Secondary Glazed Windows.

  - The system shall be offered in a single colour polyester powder coated colour finish and be able to contain 6mm single glazed panels and inserts as described in their appropriate specification.

  - In conjunction with the enhanced thermal performance of the windows, screens, doors and their respective inserts, in conjunction with the appropriate glazing specification, shall be capable of meeting the current approved Building Regulations.

- System Supplier:

  - Metal Technology Ltd., Steeple Road Industrial Estate, Steeple Road, Antrim, Co. Antrim, Northern Ireland, BT41 1AB.  Tel: 028 9448 7777.

  - Email: sales@metaltechnology.com or Web: www.metaltechnology.com

- Accreditation:

  - The Systems Company is to have ISO 9001 Quality Management Standard, and ISO 14001 Environmental Management Systems Standard.

- Installation Partners:

  - A list of specific and approved fabrication partners for this installation can be made available to the main contractor on request (Please contact your Metal Technology Regional Manager for details).

  - The fabricator shall make provision for producing construction drawings for approval prior to commencing works.

- Installation:

  - The ‘CWCT Standard for Systemised Building Envelopes’ is to be used as a reference for all projects containing curtain walling/windows/doors.

  - All glazed elements within this package should be installed by experienced and qualified personnel, possessing a recognised installer’s qualification.

- Product Reference:

  - System 15 Secondary Glazed Window.

- Materials:

  - All profiles to be extruded from aluminium alloy 6060 T6, T5 or T4 to BS EN 12020-2; 2001 / BS 755-9; 2001 and with polyamide thermal break sections manufactured from glass reinforced nylon sections capable of withstanding temperatures in excess of 200 ºC.

- Finish:

  - The finish to all aluminium profiles shall generally be Polyester Powder Coated to BS EN 12206 in a standard RAL colour to satisfy a corrosion classification as defined by the powder manufacturer.

  - Powder coat shall be applied to an average thickness of 60 microns.

  - All powder coating shall be supported by a manufacturers/applicators 20 year guarantee for a standard grade finish subject to the applicators approval.

  - Project requirements must be clearly identified by the design team responsible.

  - Finish:        		 		Colour Ral ……..

- Structure:

  - All structural profiles shall be designed so as the maximum deflection of any member shall not show any evidence of permanent deformation once the load has been removed in line with C.W.C.T. Clause 5.5.2.2:

  - 0≥3000mm = L/200

  - 3000m≥7500mm = L/300+5

  - All vents shall be sized in accordance with the guidelines detailed in Metal Technology’s technical literature.

  - All structural profiles’ stability and suitability must be confirmed by the fabricators engineers. Details/evidence of all calculations shall be submitted by the fabricator with for approval prior to commencing installation.

- Construction:

  - All frames shall be manufactured, installed and glazed in strict accordance with Metal Technology’s instructions and guidelines as set down in the appropriate technical literature, details and specifications.

  - All opening vents shall perform with a side open in operation.

  - Minimum depth of outer frame sections shall be 17mm.

  - All outer frame and vent frame members shall be 45° mitred corner construction and reinforced by means of extruded aluminium cleats with stainless steel corner braces.

  - The corner joints shall be pneumatically crimped and secured with a two part adhesive (MT1803) to increase the stability of the joints.

  - The corner cleats fixed with stainless steel self-tapping screws.

- Glazing System:

  - All single glazed units, panels and inserts shall be supported continuously along all four edges by specialised glazing support blocks.

  - All vents shall be dry glazed using an extruded wrap around channel gasket.

  - The corner of the gasket shall be accurately mitred together and sealed to ensure an effective joint.

  - Setting blocks and location pieces shall be fitted in accordance with BS 6262 in order to ensure the windows are maintained square and rigid

- Fixing:

  - All fixings shall be in strict accordance with Metal Technology’s instructions and guidelines as detailed in their technical literature and in accordance with the relevant British Standards, including BS6262, and shall ensure the window is retained securely within the opening without incurring any damage or distortion to the window frame.

  - For security purposes the lug fixings shall be positioned 150mm on the vertical and horizontal from each corner and 150mm from each mullion and transom.

  - Thereafter at centres not exceeding 600mm but dependant on wind loading. Fixing lugs/straps only to be used where they can be suitably concealed to approval.

  - All fixing of the windows to the building structure to be achieved using a suitable lug and/or frame anchor fixing method capable of accommodating all applicable loads, deflection, tolerances and expansion expected on site.

  - Details of the proposed fixing method shall be submitted to the project engineer for approval prior to installation.

- Accessories:

  - All aluminium flashings, sills and other perimeter trims necessary to ensure the performance of the glazing system shall be the responsibility of the glazing sub-contractor and shall be designed, fabricated, finished, install, secured and sealed in accordance with Metal Technology’s instructions and guidelines as detailed in their technical literature.

  - All decorative flashings/trims etc…required in addition to those indicted above, and intended to be the responsibility of the glazing contractor, should be clearly indicated by the Architect.

- Ironmongery:

  - As required the window systems shall be manufactured supplied and installed in strict accordance with the criteria laid down in BS 7950 and in line with the guidelines of secure by design.

  - The window systems shall have been proven to pass the relevant performance tests associated with the same.

  - Prior to specification, the design team should take into consideration the relevant design criteria laid out in the Building Regulations for the safe opening and closing of windows and natural ventilation.

  - Compatibility of the ironmongery with the choice of system is essential prior to tender.

  - Different ironmongery selections are available and should the project requirements differ from the standard recommended, Metal Technology strongly advises consultation between their local Architectural Advisor and the Design Team.

- Hinges:

- All opening panes shall be hung on four “side hung” hinges sized in accordance with the manufacturers and Metal Technology’s recommendations.

- Each opening pane should be fitted with a minimum of two location blocks and keeps on the opposite side from the hinge.

- Handles:

- Handles shall be Metal Technology’s standard SW48 Bow Handle if required.