L20: DOORS / SHUTTERS / HATCHES

The following specification should be read in conjunction with the Architect’s (……) Series drawings:

200: EXTERNAL ALUMINIUM Bi-FOLD DOORS:

- General:

  - As clearly indicated, the external communal entrance door sets shall be manufactured from Metal Technology’s “Thermal” Bi-Fold Door Suite.

  - The system is available in a single or dual colour polyester powder coated finish and shall be able to contain double glazed units and inserts as described in their appropriate specification.

  - The enhanced thermal performance of the windows, screens, doors and their respective inserts, in conjunction with the appropriate glazing specification, shall be capable of meeting the current approved Building Regulations.

- System Supplier:

  - Metal Technology Ltd., Steeple Road Industrial Estate, Steeple Road, Antrim, Co. Antrim, Northern Ireland, BT41 1AB.  Tel: 028 9448 7777.

  - Email: sales@metaltechnology.com or Web: www.metaltechnology.com

- Accreditation:

  - The Systems Company is to have ISO 9001 Quality Management Standard, and ISO 14001 Environmental Management Systems Standard.

- Installation Partners:

  - A list of specific and approved fabrication partners for this installation can be made available to the main contractor on request (Please contact your Metal Technology Regional Manager for details).

  - The fabricator shall make provision for producing construction drawings for approval prior to commencing works.

- Installation:

  - The ‘CWCT Standard for Systemised Building Envelopes’ is to be used as a reference for all projects containing curtain walling/windows/doors.

  - All glazed elements within this package should be installed by experienced and qualified personnel, possessing either a recognised Installer’s qualification.

- Product References:

  - System 26Hi+ Thermally Broken Bi-Fold Doors.

- Materials:

  - All profiles to be extruded from aluminium alloy 6060 T6, T5 or T4 to BS EN 12020-2 / BS 755-9 and with polyamide thermal break sections manufactured from glass reinforced nylon sections capable of withstanding temperatures in excess of 200 ºC.

- Finish:

  - The finish to all aluminium profiles shall generally be Polyester Powder Coated to BS EN 12206 in a standard RAL colour to satisfy a corrosion classification as defined by the powder manufacturer.

  - Powder coat shall be applied to an average thickness of 60 microns.

  - All powder coating shall be supported by a manufacturers/applicators 20 year guarantee for a standard grade finish subject to the applicators approval.

  - Project requirements must be clearly identified by the design team responsible.

  - Internal Finish:         		Colour Ral ……..

  - External Finish:			Colour Ral ……..

- Performance:

  - The doors shall provide Class IV weather tightness as defined by BS 6375 Part 1.

- Exposure:

  - Design Wind Pressure to be determined in accordance with BS 6399 Part 2.

- Thermal Performance:

  - All glazed curtain walling, windows, doors and their respective inserts, in conjunction with the appropriate glazing specification, should be capable of meeting the current approved Building Regulation.

  - Weighted Average U-value:		………..W/m²K.

  - Details/evidence of all calculations/methods of determining the required project average U-value for the curtain walling screens and their respect inserts shall be submitted by the fabricator with all tender submissions for approval by the project Architect.

- Secured by Design:

  - All glazed curtain walling screens, windows, and doors within the ground floor and vulnerable areas shall embrace secure by design.

  - All systems installed must demonstrate that they have been tested in line with PAS24 security standards and certified by a UKAS accredited certification body.

- Structure:

  - All structural profiles to be designed so as the maximum deflection of any member shall not exceed L/175 of its span with any evidence of any permanent deformation once the load has been removed.

  - All vents shall be sized in accordance with the guidelines detailed in Metal Technology’s technical literature.

  - All structural profiles’ stability and suitability must be confirmed by the fabricators engineers.

  - Details/evidence of all calculations shall be submitted by the fabricator with for approval prior to commencing installation.

- Construction:

  - All doors shall be manufactured, installed and glazed in strict accordance with Metal Technology’s instructions and guidelines as set down in the appropriate technical literature.

  - The bi-fold door configuration shall consist of a series door sashes (refer to Metal Technology’s technical manual for dimensions and quantities).

  - The bi-fold door arrangement can be offered with or without a traffic door which can be inward or outward opening.

  - The minimum depth of outer frame sections shall be 50mm incorporating two 20mm polyamide thermal break sections within the door profiles.

  - All outer frame members shall be 45° mitred corner construction and reinforced by means of extruded aluminium cleats with stainless steel corner braces.

  - The corner joints shall be pneumatically crimped and secured with a two part adhesive to increase the stability of the joints.

  - All joints should be sealed during construction using suitable ‘small gap’ sealant.

  - Door mid rails, cill rails and thresholds to be square cut, shaped and secured using extruded cleats, bolts and stainless steel screws driven into integral screw ports within the sections.

  - All top rails shall be fitted with an appropriate drip rail in line with Metal Technology’s technical manual.

  - All external drainage weep holes to be protected and concealed behind snap on drainage cover caps.

  - Metal Technology recommend that only A2 or A4 Austenitic (300 series/class 70) stainless steel fixing screws are used in the assembly of this product.

  - All doors shall be designed and manufactured in compliance with the relevant British Standards.

- Thresholds:

  - In ground floor applications a semi rebated low rise thermally broken threshold plate suitable for wheel chair access can be utilised.

  - In high rise applications Metal Technology recommend a fully rebated perimeter solution.

- Glazing System:

  - All double glazed units, panels and inserts shall be supported continuously along all four edges by specialised glazing support blocks.

  - All door leaves shall be dry glazed using external ‘snap in’ extruded aluminium beads.

  - Metal Technology’s standard co-extruded PVC Nitrile captive ‘E’ gaskets shall be used externally with wedge gasket internally.

  - The corners of the gaskets shall be accurately mitred together and sealed to ensure an effective joint.

  - Setting blocks and location pieces shall be fitted in accordance with BS 6262 in order to ensure the doors are maintained square and rigid.

- Sealed Unit Details:

  - Where clearly indicated, all curtain walling screens, windows and doors shall contain sealed units, which shall be manufactured in accordance with BS EN 1279 Parts 2 and 3 and carry the necessary and appropriate guarantee.

  - Internal Pane:			Laminated

  - External Pane:			Toughened

  - All glass units shall be argon filled with warm edge spacer with exact specification determined by the “U” Value calculation.

  - Unless otherwise stated, solar control glass shall be utilised in the south and west elevations:

  - Light Transmission: 			…….

  - Shading Factor:			…….

  - G Factor:				…….

  - The Fabricator is to take into account all barrier loading and conduct a thermal safety check against glass fracture where required.

  - All glazing shall conform to BS6262 and must be in compliance with the current Building Regulations.

- Fixing:

  - All fixings shall be in strict accordance with Metal Technology’s instructions and guidelines as detailed in their technical literature and in accordance with the relevant British Standards, including BS6262.

  - All fixing of doors to the building structure to be achieved using a suitable lug and/or frame anchor fixing method capable of accommodating all applicable loads, deflection, tolerances and expansion expected on site.

  - When not glazed within curtain walling and for security purposes the lug fixings shall be positioned 150mm on the vertical and horizontal from each corner and 150mm from each mullion and transom. Fixing lug centres shall be determined by site wind loading and shall not exceeding 600mm.

  - Fixing lugs shall ensure the door leaves are retained securely within the opening without incurring any damage or distortion to the outer frame.

  - Details of the proposed fixing method shall be submitted to the project engineer for approval prior to installation.

- Accessories:

  - All aluminium flashings, sills and other perimeter trims necessary to ensure the performance of the glazing system shall be the responsibility of the glazing sub-contractor.

  - They shall be designed, fabricated, finished, install, secured and sealed in accordance the architect’s details.

  - Glazing contractor to take full responsibility for butt straps and end plates to all pressings.

- Ironmongery:

  - All opening leaves in conjunction with the selected ironmongery shall have been proven to pass the relevant performance tests associated with the same.

  - Prior to specification, the design team should take into consideration the relevant design criteria laid out in the Building Regulations for the safe opening and closing of doors.

  - Should the ironmongery selection differ from the standard recommended, Metal Technology strongly advises consultation between their Technical Office and the Design Team.

  - Compatibility of the ironmongery with the choice of system is essential prior to tender.

- Handles:

  - The traffic door leaf shall be fitted with one pair of satin chrome lever handle mechanisms.

  - The slave leaves shall be fitted with shoot bolt operating handles and “D” handle hinge assemblies.

- Locking Mechanism:

  - The traffic door leaf shall be fitted with Metal Technology’s hookbolt and roller keep locking mechanism utilizing hookbolt and roller keep within the style.

  - The lock shall contain Metal Technology’s standard euro cylinder and associated euro cylinder guard.

- Door Operation:

  - All door leaves shall be fitted with purpose made hinge assemblies.

  - Where the door leaf hinges, each leaf shall be fitted with a full roller assembly to the base and top guide roller assembly to the head.