H11 CURTAIN WALLING:

The following specification shall be read in conjunction with Architect (………) Series drawings:

ALUMINIUM CURTAIN WALLING:

- General:

  - Where clearly indicated on Architect’s drawings, all vertically glazed screens shall be manufactured from Metal Technology’s High Rise Capped Curtain Walling System.

  - The system shall be a stick system and mullion drained.

  - The system is available in a single or dual colour polyester powder coated finish and shall be able to contain double glazed units and inserts as described in their appropriate specification.

  - The enhanced thermal performance of the curtain walling, windows, doors and their respective inserts, in conjunction with the appropriate glazing specification, shall be capable of meeting the current approved Building Regulations.

- System Supplier:

  - Metal Technology Ltd., Steeple Road Industrial Estate, Steeple Road, Antrim, Co. Antrim, Northern Ireland, BT41 1AB.  Tel: 028 9448 7777.

  - Email: sales@metaltechnology.com or Web: www.metaltechnology.com

- Accreditation:

  - The Systems Company is to have ISO 9001 Quality Management Standard, and ISO 14001 Environmental Management Systems Standard.

- Installation Partners:

  - A list of specific and approved fabrication partners for this installation can be made available to the main contractor on request (Please contact your Metal Technology Regional Manager for details).

  - The fabricator shall make provision for producing construction drawings for approval prior to commencing works.

- Installation:

  - The ‘CWCT Standard for Systemised Building Envelopes’ is to be used as a reference for all projects containing curtain walling/windows/doors.

  - All glazed elements within this package should be installed by experienced and qualified personnel, possessing a recognised installers qualification.

  - Product Reference:

  - System 17-65 High Rise Capped Curtain Walling.

- Materials:

  - All profiles to be extruded from aluminium alloy 6060 T6, T5 or T4 to BS EN 12020-2; 2001 / BS 755-9; 2001.

- Finish:

  - The finish to all aluminium profiles shall generally be Polyester Powder Coated to BS EN 12206 in a standard RAL colour to satisfy a corrosion classification as defined by the powder manufacturer.

  - Powder coat shall be applied to an average thickness of 60 microns.

  - All powder coating shall be supported by a manufacturers/applicators 20 year guarantee for a standard grade finish subject to the applicators approval.

  - Project requirements must be clearly identified by the design team responsible.

  - Internal Finish:         		Colour Ral ……..

  - External Finish:			Colour Ral ……..

- Performance:

  - Class III weather tightness to BS 6375 Part 1 and BS 5368. 
Dynamically tested in accordance with the CWCT test regime using a representative two-storey test sample.
Static Air Permeability - <1.5m³/hr. at 600 Pa
Static Water Penetration - Zero ml at 600 Pa
Dynamic Water penetration - Zero ml at 600 pa
Structural performance - 2400 Pa (140mph)
Safety Gust Performance - 3600 Pa (210mph)
Full test report details to be made available upon request.

- Exposure:

  - Design Wind Pressure to be determined in accordance with BS 6399 - Part 2: 1997.

- Thermal Performance:

  - All glazed curtain walling, windows, doors and their respective inserts, in conjunction with the appropriate glazing specification, should be capable of meeting the current approved Building Regulation.

  - Weighted Average U-value:		………..W/m²K.

  - Details/evidence of all calculations/methods of determining the required project average U-value for the curtain walling screens and their respect inserts shall be submitted by the fabricator with all tender submissions for approval by the project Architect.

- Secured by Design:

  - All glazed curtain walling screens, windows, and doors within the ground floor and vulnerable areas shall embrace secure by design.

  - All systems installed must demonstrate that they have been tested in line with PAS24 security standards and certified by a UKAS accredited certification body.

- Structure:

  - All structural profiles shall be designed so as the maximum deflection of any member shall not show any evidence of permanent deformation once the load has been removed in line with C.W.C.T. Clause 5.5.2.2:

  - 0≥3000mm = L/200

  - 3000m≥7500mm = L/300+5

  - All vents shall be sized in accordance with the guidelines detailed in Metal Technology’s technical literature.

  - All structural profiles’ stability and suitability must be confirmed by the fabricators engineers.

  - Details/evidence of all calculations shall be submitted by the fabricator with for approval prior to commencing installation.

  - Any necessary secondary structural steelwork providing support shall be by others. It shall be the responsibility of the glazing contractor to clearly identify his requirements within his tender.

- Construction:

  - All curtain walling screens shall be manufactured, installed and glazed in strict accordance with Metal Technology’s instructions and guidelines as set down in their technical literature.

  - The system shall be pressure equalised and self-draining by means of overlapping the transoms onto the mullion members.

  - Water is then channelled to the exterior of the building via the integral drainage chambers within the mullions.

  - Where the transoms join onto the mullions this connection shall be sealed by means of a purpose made transom end seal.

- The system shall be thermally broken throughout by means of a continuous thermal isolator located between pressure plates and all structural members.

- The pressure plate shall be retained by using pozi-pan head stainless steel self-tapping screw, tightened to a torque of 3.5Nm.

- External Cover Cap:

- Horizontally:			………..

- Vertically:				………..

- Glazing System:

  - Dry glazed using proprietary, high performance captive gaskets.

  - All double-glazed units, panels and inserts shall be supported continuously along all four edges by a structural member and held firmly in position by means of a screw fixed pressure plate with a snap on face cap.

  - All gasket joints within the frame shall be bonded and sealed during construction, using a suitable waterproof adhesive to ensure watertight joint at all cruciform connections.

- Sealed Unit Details:

  - Where clearly indicated, all curtain walling screens, windows and doors shall contain sealed units, which shall be manufactured in accordance with BS EN 1279 Parts 2 and 3 and carry the necessary and appropriate guarantee.

  - Internal Pane:			…………………...

  - External Pane:			……………………

  - All glass units shall be gas filled with warm edge spacer with exact specification determined by the “U” Value calculation.

  - Where solar control glass is applicable:

  - Light Transmission: 			…….

  - G Factor:				…….

  - The Fabricator is to conduct a thermal safety check against glass fracture where required.

  - When required the glass units shall generally satisfy the secure by design remit in ground floor and vulnerable areas.

  - Manifestation as required.

  - All glazing shall conform to BS6262 and must be in compliance with the current Building Regulations.

- Panel Details (Option A):

  - Where clearly indicated, the panels shall generally be double glazed glass spandrel panels, which shall be manufactured in accordance with BS EN 1279 Parts 2 and 3 and carry the necessary and appropriate guarantee.

  - Internal Pane:			…………………...

  - External Pane:			……………………

  - Each panel shall be supplied complete with a foil backed insulation internally and where exposed, the internal face shall have polyester powder coated aluminium tray finish as required and in line with specification:

  - Internal Finish:         		Colour Ral ……..

  - All glass units shall be argon filled with warm edge spacer with exact specification determined by the “U” Value calculation.

  - The Fabricator is to conduct a thermal safety check against glass fracture where required.

  - All glazing shall conform to BS6262 and must be in compliance with the current Building Regulations.

- Panel Details (Option B):

  - Where clearly indicated, the dead panels within the screens shall generally be aluminium faced spandrel panels:

  - They shall be finished externally with a 2mm polyester powder coated aluminium sheet.

  - The powder coated finish to all external aluminium faces shall generally be a minimum thickness of 60 microns.

  - Each panel shall be supplied complete with a foil backed insulation internally and where exposed, the internal face shall have polyester powder coated aluminium tray finish as required and in line with specification:

  - Internal Finish:         		Colour Ral ……..

- All aluminium panels will be subject to confirmation by the design team and shall be in compliance with the current Building Regulations.

  - The exact specification will be determined by the “U” Value calculation.

- All glazing shall conform to BS 6262.

- Incorporated Components:

  - Where clearly indicated, these shall consist of Metal Technology’s Systems as detailed in their appropriate specification. (Please consult with Metal Technology for further recommendations and details).

- Fixings:

- All fixings shall be in strict accordance with Metal Technology’s instructions and guidelines as detailed in their technical literature and in accordance with the relevant British Standards.

- All such accessories shall be manufactured from Metal Technology’s range of bracket and plate extrusions with all necessary “interlocking teeth” and slotted boltholes as detailed in their technical manual so as to allow for site tolerance and structural movement.

- All fixing of the screens to the building structure shall be achieved using a suitable anchor and bracket fixing method capable of supporting all applicable loads and accommodating the relevant fabrication, installation, site and expansion tolerances.

- Details of the method of fixings shall be submitted to the project engineers for approval prior to installation.

- Accessories:

  - All aluminium flashings, sills and other perimeter trims necessary to ensure the performance of the glazing system shall be the responsibility of the glazing sub-contractor.

  - They shall be designed, fabricated, finished, install, secured and sealed in accordance the architect’s details.

  - Glazing contractor to take full responsibility for butt straps and end caps to all pressings.